## BaseBuilding Delineation
BASE BUILDING, SITE AND TENANT IMPROVEMENT DELINEATION
The purpose of this delineation is not to provide an all-inclusive list or definition of each of the project components, nor is it to provide a performance criteria for any of the components. It is simply to identify the category for each of the major components of the Work.
Description | Base Building | Site | Tenant
Core and Shell includes the complete design, permitting and construction of exterior walls; penthouse; common area restrooms; janitor closets; elevators; electrical, mechanical, and telephone rooms; loading docks; roof; stairways; first floor lobby comple | X
Structural concrete and steel required for construction of the building core and shell | X
Janitor closets complete, including finishes | X
Mechanical rooms complete | X
Telephone closets complete, excluding horizontal distribution of voice and data cabling | X
Electrical rooms complete, including all transformers and electrical panels | X
Building Management office, complete | X
Fireproofing | X
Elevators, including cabs, frames, entries and interior finishes | X
Gypsum board partitions and related soffits and bulkheads taped and finished, ready to receive paint
Perimeter | X
Columns | X
Core | X
Restrooms rooms including all finishes | X
Exit stairs including all finishes | X
Freight elevator lobby including all access corridors | X
Entrance lobby including all finishes | X
Typical Elevator lobby on each floor including all finishes |  |  | X
Security/Concierge desk | X
Ceiling systems
Tenant Areas |  |  | X
Restrooms | X
MEP Rooms | X
Elevator lobbies (Tenant Floors) |  |  | X
Janitor closets | X
Entrance lobby, and all access corridors | X
Freight elevator lobby and all access corridors | X
Exit Stairs | X
Perimeter window blinds | X
Interior blinds and special window treatments |  |  | X
Loading docks and associated equipment, including dock levelers | X
Exterior signage
Directional site Signage |  | X
Monument Signage (convertible to Office Park Identification signage) |  | X
Building Mounted & Illuminated Signage |  |  | X
Interior Signage
Core & Common Areas | X
Tenant Areas |  |  | X
STRUCTURAL
Building structure, including slab on grade, supported slabs, columns, shafts, and structural steel | X
Spray-on fireproofing, if required | X
ELECTRICAL
Incoming Service to within 5 feet of building |  | X
Incoming Service to switchgear | X
Switchgear | X
Buss duct riser (capacity per specifications) | X
On-floor transformers, electrical panels | X
Power distribution for furniture, office equipment, and service, excluding core and shell. |  |  | X
Distribution to closets
Low voltage panels | X
High voltage panels | X
Transformers | X
Emergency Lighting
Core and common areas | X
Tenant area |  |  | X
Light Fixtures
Core & common areas | X
Tenant areas |  |  | X
Typical elevator lobbies |  |  | X
Main lobbies | X
Convenience Outlets
Core & common areas | X
Tenant areas |  |  | X
Strobe lighting
Core & common areas | X
Tenant areas |  |  | X
Panel contacts (for both areas) | X
Sleeves in Floor of core for telephone and fiberoptic cable (telephone closet) | X
Voice/Data distribution
Incoming service from utility company to main phone room | X
Vertical sleeves | X
Horizontal distribution |  |  | X
Outlets |  |  | X
Telephone switch |  |  | X
UPS System Automatic Transfer Switch |  |  | X
Emergency Generator (Life Support) | X
Emergency Generator (Work Support) |  |  | X
Battery Back-up |  |  | X
Air Handling Units | X
Supply and exhaust shafts, including equipment | X
Perimeter VAV units | X
Medium pressure duct work | X
Low pressure duct work downstream of VAV boxes serving interior supply diffusers |  |  | X
Low pressure duct work and perimeter diffusers complete |  |  | X
HVAC at Core, including registers, grilles, and diffusers | X
Energy management system | X
All infrastructure up to and including VAV boxes | X
Adequate number of VAV boxes, including thermostats and controls to satisfy ASHRAE throughout building, including installation, power and controls | X
Relocation of VAV's to accommodate tenant improvements |  |  | X
Base Building HVAC
Exhaust/Ventilation
MEP rooms | X
Toilet rooms | X
Elevator rooms | X
Stairs | X
Cafeteria (provide shaft at core) |  |  | X
Exercise (provide shaft at core) |  |  | X
Shower/Locker room (provide shaft at core) |  |  | X
Supplemental A/C Units
Extra system capacity | X
Tenant specialty areas |  |  | X
Entrance common areas | X
FIRE PROTECTION AND LIFE SAFETY SYSTEMS
Standpipes | X
Fire pump, sized to accommodate tenant built-out | X
Distribution to main loop | X
Valved connections | X
Flow & tamper switches | X
Branches, drops and heads (per code)
Core areas | X
Tenant area coverage equal to 1 head per 225 SF | X
Sprinkler coverage beyond 1/225 in order to accommodate tenant layout |  |  | X
Water curtains at atriums (In common areas) | X
Additional heads per tenant plan |  |  | X
Main lobby (flush heads) | X
Life safety systems (audible, and visual devices), sized to accommodate tenant buildout | X
Infrastructure , incl. panels to connect tenant work | X
Core & common areas | X
Tenant areas |  |  | X
Extinguisher cabinets/Extinguishers
Core & common areas | X
Tenant areas |  |  | X
Interface with central monitoring system | X
Contact points on each floor to tie in tenant areas | X
Fire Phones (per code)
Fire control room | X
Elevators | X
Stairways | X
Annunciation Panels (per code/specification) | X
Fire command center | X
PLUMBING
Wet columns | X
Core fixtures | X
Drinking fountains | X
Janitors sink | X
Pantries |  |  | X
SECURITY
Infrastructure to accommodate card readers, contacts, and all monitoring systems | X
Card readers (including power & conduit)
Garage gates | X
Building entries | X
Tenant entries |  |  | X
Typical floors |  |  | X
Exterior
Parking structures complete |  | X
All utilities, including water, sanitary serer, natural gas, electric power, telephone service, fiberoptic, cable television delivered to the building, including necessary off-site work |  | X
Installation of all required meters, inside the Building | X
Storm water management systems, including piping, grading, dewatering, structures, and filters. |  | X
All landscaping, sidewalks, roadways, parking areas, site lighting, water features, sculptures and other improvements made to the exterior of the building but not attached to the structure (To be determined) | X | X
Plazas available for common use |  | X
Plazas specifically dedicated to Tenant use |  |  | X
Lighting mounted to building exterior | X
Rough grading |  | X